## Base
Enertect Vision Technologies Private Limited Unit F-2, 1st Floor, A-Wing, Udyog Bhavan 2, Plot K-3, Additional Ambernath MIDC, Ambernath(E) 421506 GST IN: 27AAFCE1156M1ZH
Customer Name :
Solution Provider :
Parameters
Nominal DC Voltage (V)
Back Up Requirement(Min)
Chemistry
Ups is centre tap or not (2 wire or 3 wire system)
cell Type
UPS Rating (KVA)
Output Power Factor
Inverter Efficiency
End Cell Voltage(V)
Maximum Charging Voltage(V)
Solution
Calculated Load in kW
Energy Required(kWh)
Capacity Required (AH)
Nearest Available Capacity(AH)
Total Available Energy (kWh)
kwh Approx
AH
Available Approximate Back Up (Min) At BOL
Configuration
Price with Cabinet & BMS (exclusive GST)
Modular Battery Rack (exclusive GST)
| #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
1. Can be customised, depending on the space available on-site or as per the requirements from user’s end. 2. Only Refer the Datasheet which is particularly designed for parameters mentioned in above chart. 3. Since the Sizing is done as per given details in above chart. So battery should be operated for Load and Required Energy as per the chart. 4. UPS should have adjustment of maximum & minimum DC voltage as per chart. 5. UPS DC charger doesn’t require reference voltage from battery.
www.enertectbatteries.com M:. +91 9867320865